## Data Analysis
EXPERIMENTAL DATA ANALYSIS
Hypothesis test on the means
Measurement | Cond. 1 | Cond. 2 | Cond. 3 | Cond. 4 | Cond. 5
1 | 9 | 10.1 | 8.2 | 9.9 | 7.3
2 | 10 | 8.9 | 8 | 8.9 | 8.2
3 | 7.9 | 10.4 | 7.8 | 11.3 | 11.3
4 | 9.7 | 9.8 | 7.3 | 9.7 | 11
Test on the systematic effect of the Conditions
Condition averages are compared with reference distribution
Distribution of the sample averages
Averages
Number of averaged data
Average
Std dev of average
Confidence level |  |  | 80.2%
Lower boundary
Upper boundary

## Uncertainty
Mathematical model
Numeric results MUST be in base units of the International System of Quantities (multiples and submultiples are not allowed).
Variable xj |  |  | Statistical |  |  |  |  | Non Statistical |  | Parameters estimated
Symbol | Value | Note | Uj | Pdj | ndj | kdj | sj | aj | ka | nj | nd | nr | u²(xj) | cj=Dyj/Dxj | uj²(y) | uj4(y)/nj
k | 410 | Bias | 15 | 99.73% | 100 | 3.0767 | 4.8753 |  |  | 5 | 1 | 1
x | 0.011 | Bias | Non Statistical aj: 0.00023; Non Statistical ka: 3; Parameters estimated nj: 5; Parameters estimated nd: 1; Parameters estimated nr: 1
|  | Resol | Non Statistical aj: 5e-05; Non Statistical ka: 3; Parameters estimated nj: 100; Parameters estimated nd: 1; Parameters estimated nr: 7
|  | Reprod | Statistical sj: 0.00046; Parameters estimated nj: 6; Parameters estimated nd: 1; Parameters estimated nr: 7
F | 4.51 | N | Parameters estimated nr: Variance of y, u²(y)
[9 empty] | 0.00013279 |  |  | Standard uncertainty of y, u(y)
[9 empty] | 2.8868e-05 |  |  | Degrees of freedom of y, n(y)
|  |  | Parameters estimated nr: Confidence level |  |  | 95%
Coverage factor (Student t)
|  |  | Parameters estimated nr: Expanded uncertainty U(y) |  |  |  | N
Calcolo dei coefficienti di sensibilità |  |  | Non Statistical ka: Show the main factors to be considered to reduce the uncertainty (most impacting)
| Dxj | xj+Dxj | Statistical Uj: y(xj+Dxj); Statistical Pdj: Dyj; Statistical ndj: Dyj/Dxj; Statistical sj: Analytical derivative
k | bar: Statistical Uj to Statistical ndj; Statistical sj
x |  |  | Non Statistical ka: Show the main factors to be considered to reduce the costs (least impacting)
Make the hypothesis of a change in the main uncertainty factor and evaluate its effect

## Prob
Let us consider two devices D1 and D2.
The device D1 is made by three critical pieces a, b and c, such that even if only one of them is defective, then the device does not work. If the piece a is defective with probability Pa, and similarly Pb for piece b and Pc for piece c, what is the probability that the device D1 does not work?
The device D2 is made by two critical pieces v and w, such that if at least one of them works, then the device works. If the piece v is defective with probability Pv, and similarly Pw for piece w, what is the probability that the device D2 does not work?
What is the maximum value of the probability of defects for piece a such that the probability that the device D1 does not work is lower or equal than the target probability Pt?
Pa | 2.9%
Pb | 0.34%
Pc | 0.44%
Probability that the device D1 does not work
Pv | 14.9%
Pw | 12.7%
Probability that the device D2 does not work
Pt | 2%
Maximum value of the probability of defects for piece a such that the probability that the device D1 does not work is lower or equal than the target probability Pt?